## Review- IS 5405_1_0_2003_0_TRe
Annex-C
IS Number | Part | Section | Year | Number of Amendments | Title of the Standard | Type of Test | Qualitative or Quantitative | Clause/ Table/ Annex Reference | Test Parameter Name | To be tested by Lab (YES / NO) | Mandatory or Optional | Requirement (as per Indian Standard) - No specified values to be mentioned here | Test Result/ Observation | Test Request Requirements | Test Method Reference | Test Method Reference Standard | Sl No. under Clause/ Table/ Annex Reference | Sample Quantity | Equipment | Remarks | Specified limits for Grade 1 | Specified limits for Grade 1 | Specified limits for Grade 2 | Specified limits for Grade 2 | Specified limits for Grade 3 | Specified limits for Grade 3 | Specified limits for Size of Sanitary napkin (Regular) | Specified limits for Size of Sanitary napkin (Regular) | Specified limits for Size of Sanitary napkin (Large) | Specified limits for Size of Sanitary napkin (Large) | Specified limits for Size of Sanitary napkin (Extra Large) | Specified limits for Size of Sanitary napkin (Extra Large) | Specified limits for Size of Sanitary napkin (XXL) | Specified limits for Size of Sanitary napkin (XXL) | Specified limits for Size of Panty liner (Small) | Specified limits for Size of Panty liner (Small) | Specified limits for Size of Panty liner (Regular) | Specified limits for Size of Panty liner (Regular) | Specified limits for Size of Panty liner (Large) | Specified limits for Size of Panty liner (Large) | Specified limits for Size of Maternity pad ) | Specified limits for Size of Maternity pad ) | Specified limits for Size of Period panty | Specified limits for Size of Period panty | If the test is quantitative, the Min and Max value to be written after applying the tolerance given in the standard. If only upper and lower limit is given, mention ONLY Min or ONLY Max balue and leave the other cell blank. If the test is Qualitative, both Only Min column to be filled by the qualitiative requirement, the Max column to be left blank
THIS ROW TO BE LEFT BLANK | [20 empty] | Min | Max | Min | Max | Min | Max | Min | Max | Min | Max | Min | Max | Min | Max | Min | Max | Min | Max | Min | Max | Min | Max | Min
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Chemical | Qualitative | Clause 3.1 | Cover/Top Sheet | No | Mandatory | The cover of sanitary napkin/panty liner/maternity pad/period panty shall be of good quality cotton, rayon knitted sleeve or gauze, non-woven fabric or any other materials with sufficient porosity to permit the assembled product to meet the absorbency requirements. | To be checked on declaration basis | Declaration w.r.t material of cover/top sheet clause 3.1 |  | IS 5405 | 1
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Chemical | Qualitative | Clause 3.1 | Cover/Top Sheet | No | Mandatory | Material of cover/top sheet( if cotton gauze is used) | To be checked on declaration basis | Declaration w.r.t material of cover/top sheet clause 3.1 |  | IS 758 | 2
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Chemical | Qualitative | Clause 3.2 | Absorbent Core | No | Mandatory | An absorbent core forming the middle layer(s) shall consist of filler materials, such as cellulose pulp, cellulose wadding, tissue, cotton, wood pulp, other absorbent and super absorbent materials or combination of these materials, etc. | To be checked on declaration basis | Declaration w.r.t material of absorbent core clause 3.2 |  | IS 5405 | 1
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Chemical | Qualitative | Clause 3.2 | Absorbent Core | Yes | Mandatory | It shall be free from lumps (unintended), oil spots, dirt or foreign material (unintended foreign matter that can cause injury or discomfort) when examined visually. | Satisfacory/unsatisfactory(lumps/oip spots/dirt/foreign material observed) | Declaration of manufacture for conformation w.r.t material of absorbent core clause 3.2 |  | IS 5405 | 2
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Chemical | Quantitative | Clause 5 & Table 1 | Dimension - Length | Yes | Optional | Length (absorbent core only) | To be checked on declaration basis | Size class and dimensions to be declared |  | IS 5405 | [11 empty] | 210 | 211 | 240 | 241 | 280 | 281 |  |  | 135 | 136 | 179 | 180 |  | 281 |  | 230
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Chemical | Quantitative | Clause 5 & Table 1 | Dimension - Width | Yes | Optional | Width (absorbent core only) | To be checked on declaration basis | Size class and dimensions to be declared |  | IS 5405 | [10 empty] | 55 |  | 55 |  | 55 |  | 55 |  | 20 |  | 20 |  | 20 |  | 80 |  | 55
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Chemical | Qualitative | Clause 6.1 | Manufacture, Workmanship and Finish | No | Mandatory | The wood pulp or other absorbent filler shall be arranged and neatly cut to the required size and shape of the sanitary napkin/panty liner/maternity pad/period panty without any wrinkles and distortion. | To be checked on declaration basis | Declaration w.r.t clause 6.1 |  | IS 5405 | 1
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Chemical | Qualitative | Clause 6.1 | Manufacture, Workmanship and Finish | No | Mandatory | The absorbent material is deposited on to a pre-glued or without glue cover in such a way that it does not cause lump formation with the effect of sudden pressure. | To be checked on declaration basis | Declaration w.r.t clause 6.1 |  | IS 5405 | 2
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Chemical | Qualitative | Clause 6.1 | Manufacture, Workmanship and Finish | No | Mandatory | The covering fabric should cover the filler completely and shall extend beyond the width of the filler or beyond the length of the filler to form tabs or loops at each end. | To be checked on declaration basis | Declaration w.r.t clause 6.1 |  | IS 5405 | 3
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Chemical | Qualitative | Clause 6.1 | Manufacture, Workmanship and Finish | No | Mandatory | The manufacture should use elemental or total chlorine free bleached wood pulp in the absorbent core of the product. | To be checked on declaration basis | Declaration w.r.t clause 6.1 |  | IS 5405 | 4
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Chemical | Qualitative | Clause 6.2 | Manufacture, Workmanship and Finish | No | Mandatory | The sanitary napkin/panty liner/maternity pad/period panty shall have a soft feel and when worn shall not chafe or give any uncomfortable feeling. | To be checked on declaration basis | Declaration w.r.t clause 6.2 |  | IS 5405 | 1
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Chemical | Qualitative | Clause 6.2 | Manufacture, Workmanship and Finish | No | Mandatory | They shall be free from all sorts of foreign matter (unintended foreign matter that can cause injury or discomfort). | To be checked on declaration basis | Declaration w.r.t clause 6.2 |  | IS 5405 | 2
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Chemical | Quantitative | Clause 7.1 | pH Value | Yes | Mandatory | pH(mean of top and absorbent core) | upto one decimal place two values each of top and absorbent core |  |  | IS 1390 | [10 empty] | 3.5 | 7.5 | 3.5 | 7.5 | 3.5 | 7.5 | 3.5 | 7.5 | 3.5 | 7.5 | 3.5 | 7.5 | 3.5 | 7.5 | 3.5 | 7.5 | 3.5 | 7.5
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Chemical | Qualitative | Clause 3.3,7.2 & Table 2 | Ability to Withstand Pressure after Absorption for Sanitary napkin | Yes | Mandatory | Ability to Withstand Pressure after Absorption | Satisfactory/Unsatisfactory (liquid leakage observed) | Type | Annex B | IS 5405
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Microbiological | Quantitative | Clause 7.3 & 7.3.1 | Hygiene Testing Requirement | Yes | Mandatory | Total viable count (total number of bacteria and fungi) ,cfu/gm | Integer |  | Clause 7.3.1.1 | IS 5405 | [11 empty] | 1000 |  | 1000 |  | 1000 |  | 1000 |  | 1000 |  | 1000 |  | 1000 |  | 1000 |  | 1000
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Microbiological | Qualitative | Clause 7.3 & 7.3.2 | Hygiene Testing Requirement | Yes | Mandatory | Staphylococcus aureus shall be absent. | Satisfacory/unsatisfactory (staphylococcus is present ) |  | Clause 7.3.2.1 | IS 5405
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Chemical | Qualitative | Clause 7.3.3 | Good Manufacturing practice guideline for hygiene requirement | No | Mandatory | The sanitary napkin/panty liner/maternity pad/period panty shall be manufactured under good hygieninc conditions | To be checked on declaration basis | To be declared by manufacturer | Annex-C | IS 5405
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Chemical | Qualitative | Clause 7.4 | Biocompatibility Evaluation — Cytotoxicity, Irritation and Skin Sensitization (Optional) | Yes | Optional | Cytoxicity | Satisfactory/Unsatisfactory (Cytotoxic) | Declaration to check the applicability of Biocompatibilty as per clause 7.4 |  | IS/ISO 10995 Part 5
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Chemical | Qualitative | Clause 7.4 | Biocompatibility Evaluation — Cytotoxicity, Irritation and Skin Sensitization (Optional) | Yes | Optional | Irritation test | Satisfactory/Unsatisfactory (irritant) | Declaration to check the applicability of Biocompatibilty as per clause 7.5 |  | 17932 (Part 7)
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Chemical | Qualitative | Clause 7.4 | Biocompatibility Evaluation — Cytotoxicity, Irritation and Skin Sensitization (Optional) | Yes | Optional | Skin-Sensitization test | Satisfactory/Unsatisfactory (Sensitizer) | Declaration to check the applicability of Biocompatibilty as per clause 7.4 |  | IS 17932 (Part 6)
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Chemical | Quantitative | Clause 7.5 | Phthalate Test | Yes | Mandatory | Pthlate test (Individual or in combination), % | Whole Number |  |  | IS 9873 (Part 6) | [11 empty] | 0.1 |  | 0.1 |  | 0.1 |  | 0.1 |  | 0.1 |  | 0.1 |  | 0.1 |  | 0.1 |  | 0.1
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Chemical | Qualitative | Clause 7.6 | Compostability | Yes | Optional | Compostability | Satisfactory/Unsatisfactory (non-compostable) | Declaration to check the applicability of Compostability as per clause 7.6 |  | IS/ISO 17088
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Chemical | Quantitative | Clause 7.7 | Anti-Bacterial Activity Value | Yes | Optional | Anti-Bacterial Activity Value | Integer | Declaration to check the applicability of Anti-Bacterial Activity Value as per clause 7.7 |  | IS/ISO 20743 |  |  |  |  | 2 | [5 empty] | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Chemical | Qualitative | Clause 9 | Marking | No | Mandatory | Each consumer pack shall be legibly and indelibly marked with the manufacturer’s name or trade mark, size, type and number of sanitary napkin/panty liner/maternity pad/period panty contained in the pack | To be checked on declaration basis | To be declared by manufacturer for compliance as per clause 9 |  | IS 5405 | 1 |  |  |  | 2 | [5 empty] | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Chemical | Qualitative | Clause 9 | Marking | No | Mandatory | a) Directions of use; | To be checked on declaration basis | To be declared by manufacturer for compliance as per clause 9 |  | IS 5405 | 2 |  |  |  | 2 | [5 empty] | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Chemical | Qualitative | Clause 9 | Marking | No | Mandatory | b) Disposability instructions. The manufacturer shall provide the instruction to users for safe disposal of the product as per Solid Waste Management Rules, 2016 or any other rules and regulation published from time to time; | To be checked on declaration basis | To be declared by manufacturer for compliance as per clause 9 |  | IS 5405 | 3 |  |  |  | 2 | [5 empty] | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Chemical | Qualitative | Clause 9 | Marking | No | Mandatory | c) Batch/Lot no. and date of manufacturing; | To be checked on declaration basis | To be declared by manufacturer for compliance as per clause 9 |  | IS 5405 | 4 |  |  |  | 2 | [5 empty] | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Chemical | Qualitative | Clause 9 | Marking | No | Mandatory | d) The information whether the product is compostable (if applicable). | To be checked on declaration basis | To be declared by manufacturer for compliance as per clause 9 |  | IS 5405 | 5 |  |  |  | 2 | [5 empty] | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Chemical | Qualitative | Clause 9 | Marking | No | Mandatory | e) The information whether the material of the product is biocompatible that is, meets the requirement of the standard for biocompatibility evaluation – cytotoxicity, irritation and skin sensitization (if applicable); | To be checked on declaration basis | To be declared by manufacturer for compliance as per clause 9 |  | IS 5405 | 6 |  |  |  | 2 | [5 empty] | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Chemical | Qualitative | Clause 9 | Marking | No | Mandatory | f) Additional feature of antibacterial (if applicable); | To be checked on declaration basis | To be declared by manufacturer for compliance as per clause 9 |  | IS 5405 | 7 |  |  |  | 2 | [5 empty] | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Chemical | Qualitative | Clause 9 | Marking | No | Mandatory | g) Any other information required by law in force or agreed between the buyer and the seller. | To be checked on declaration basis | To be declared by manufacturer for compliance as per clause 9 |  | IS 5405 | 8 |  |  |  | 2 | [5 empty] | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Chemical | Qualitative | Clause 10 | Packing | No | Mandatory | Sanitary napkin/panty liner/maternity pad/period panty shall be packed in rigid or flexible packages that protect the product from contaminants during shipment and storage. | To be checked on declaration basis | To be declared by manufacturer for compliance as per clause 10 |  | IS 5405 | 1 |  |  |  | 2 | [5 empty] | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Chemical | Qualitative | Clause 10 | Packing | No | Mandatory | This package could be constructed of materials, such as carton board, polyethylene, polypropylene, polyester or other safe materials that provide sufficient protection to the product. | To be checked on declaration basis | To be declared by manufacturer for compliance as per clause 10 |  | IS 5405 | 2 |  |  |  | 2 | [5 empty] | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Chemical | Qualitative | Clause 10 | Packing | No | Mandatory | The package should be free of any torn or damaged areas. | To be checked on declaration basis | To be declared by manufacturer for compliance as per clause 10 |  | IS 5405 | 3 |  |  |  | 2 | [5 empty] | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2
5405 |  |  | 2025 |  | DISPOSABLE SANITARY NAPKIN/PANTY LINER/ MATERNITY PAD/PERIOD PANTY | Chemical | Qualitative | Clause 9.2 | BIS Certification Marking | No | Mandatory | The product(s) conforming to the requirements of this standard may be certified as per the conformity assessment schemes under the provisions of the Bureau of Indian Standards Act, 2016 and the Rules and Regulations framed thereunder, and the products may be marked with the Standard Mark. | To be checked on declaration basis | To be declared by manufacturer for compliance as per clause 9.2 |  | IS 5405 |  |  |  |  | 2 | [5 empty] | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2

## Test Request format-IS 5405
Annex-D
Grade | Type ( as per clause 4) | Size ( as per clause 5) | Category | Declared Value 1 | Declared Value 2 | Declared Value 3 | Declared Value 4 | Declared Value 5 [any other declaration] | Declared Value 6 [any other declaration] | "[DATA]" is any other information of the product needed for carrying out some tests. This information can be qualitative or quantitative
| Sanitary Napkin | Regular |  | Declaration of type and size as per clause 4 and clause 5 respectively. | Declaration for material as per clauses 3.1,3.2 and 3.3 | Declaration for clause 9 Marking | Declaration to check the applicability of optiona; tests as per clauses 7.4, 7.6 and 7.7 | Declaration for workmanship as per Clause 6.1,6.2
| Panty Liner | Large
| Maternity Pad | Extra Large
| Period Panty | XXL
Small
Regular Large
any other
Remarks- is declaration regarding packing applicable for test request